WBC and ECG labs (Labs 34B and 36B)

Do all of the following in exercises 34 and 36.

Lab 36b (ECG)

Procedure B: Use the ECG procedure in this handout. Do not use the one in the lab manual. You can find background information about ECGs in the lab manual (exercise 36) and in the textbook (chapter 13).

Assessment C: Skip questions 1 and 7

Assessment D: Skip questions 2, 3, and 4

ECG procedure, part 1: Setting up the computer and the ECG equipment

This section describes the steps needed to prepare the equipment for recording ECGs. These steps must be followed exactly and in this exact order or the computer will probably not function correctly. It is best if your group’s most computer-knowledgeable person takes charge of this section. If you have any problems at all, please ask your instructor for assistance right away.

a) Obtain a computer, a large white carton containing the Vernier Lab Pro box, a 	smaller white carton containing the ECG probe box, and three ECG lead stickers.

b) Plug in the Vernier Lab Pro box (a green plastic device with “BIOLOGY” written 	on it) into a power outlet. It should make a beeping 	noise and lights should glow 	when it is getting power.

c) Use the long white USB cable to connect the Vernier Lab Pro box to the 	computer’s USB port.

d) Obtain the ECG probe box. The ECG probe box has 3 colored “alligator” clips at 	one end and a larger single cable at the other end. Connect the single large cable into 	any of 	the four cable ports on the Vernier Lab Pro box.

e) If an electrical power cord is available for your computer, plug the cord into an

outlet and connect it to your computer.

f) If your computer is not on, open your computer and turn it on.

g) If you need to log in, a log-on window will appear.

- The user name is ChemBio.

- The password is SC13NC3. Be sure to use capital letters for the letters.

h) After the log-on window (if needed) , the “desktop” of the computer should appear.

i) Open the LoggerPro program by double clicking on it.

h) In the LoggerPro program, navigate through these steps:

File>Open>Experiments>Biology With Vernier>Monitoring EKG (28)

- If done correctly, a screen that says “EKG” at the top should appear.

i) Click the button with the watch icon (next to the Collect button in the upper 	right of 	the screen).

j) In the Data Collect window, make these settings:

- Mode = time-based

- Time = 10 seconds

- Box that says “Sample at zero” = checked yes

- Box that says “Repeat” = unchecked No

• 100 samples per second

k) Pick a person to be the subject of the ECG tests. Since one of the tests will involve 	exercise, select someone with no health problems. The test subject should now sit 	comfortably in a chair and apply the ECG lead stickers to both their wrists and their 	left ankle. Next, connect the green alligator clip to the lead on the right arm, the red 	clip to the lead on the left arm, and the black clip to the lead on the leg. The clearest 	ECG readings are obtained when the subject is absolutely still, so they should sit as 	still as 	possible in the chair, with their arms comfortably on their lap.

ECG procedure, part 2: Recording the resting ECG

a) Start the ECG recording by clicking the green Start button in the upper right of the 	screen. A 10-second recording of the ECG should appear.

b) If you can see distinct P, QRS, and T waves for the full 10 seconds, save the 	recording to the desktop by navigating File>SaveAs.

- In the Save As window, select Desktop as the Save In location.

- Name the file with your subject’s name and “Resting”.

- If the recording is not acceptable, make another one by clicking the green Start 			button again.

c) Sketch the first two seconds of the resting ECG in report section D of lab 36. Label the P wave, QRS waves, and T wave on each heart beat. Also, calculate the heart rate (beats per minute) and write that next to your sketch. If you are not sure how to calculate the heart rate, ask your instructor for assistance.

ECG procedure, part 3: The effects of exercise on ECG

a) The test subject should disconnect their alligator clips but leave their lead stickers 	attached.

b) The subject should exercise heavily for at least two minutes by running up and 	down the stairs. They should exercise hard enough to breathe hard.

c) As soon as the subject returns to the classroom, reconnect the clips (green to right 	arm, red to left arm, and black to leg) and make a new ECG by clicking the green 	Start button again. Remember, the best recordings are made when the subject is as 	still as possible.

d) If the recording is acceptable, save it to the desktop as you did before but the title 	should have the subject’s name and “Running”

e) After 2 minutes, make another ECG recording. Save this one to the desktop with 	the subjects name and “2 minutes Post Run”

c) Make two sketches: The first sketch is the first two seconds of the Running ECG. The second sketch is the first two seconds of the 2 Minutes Post Running ECG. Label the P wave, QRS waves, and T wave on each heart beat in both of these sketches. Also, calculate the heart rate (beats per minute) and write that next to each of your sketches.

Lab 34b (WBC counts)

Procedure B: Use the WBC procedure in this handout (see below). Do not use the one in the lab manual. You can find background information about WBCs in the lab manual (exercise 34) and in the textbook (chapter 12, WBC section).

Assessment A: Skip questions 1, 2, 3, and 8.

.

WBC procedure

a) On the back countertops of the lab there are five microscopes. Each one of the `	microscopes is focused on a different one of the five major WBC types.

b) For each of the five microscopes, view the WBC that it is focused on then draw a sketch of the WBC. If you need to fine tune the focus use the small black knobs on the lower left and lower right sides of microscope.

Ask your instructor for focusing assistance if needed.

Be sure to include the name of each WBC next to each sketch.

Under each sketch write a sentence or two describing the features of the WBC type that makes it visually distinct from the other WBC types. In other words, write some hints that will help you to remember what makes the WBC you are sketching look different from the other WBC types.

c) Fill in the table below about the relative abundances of each WBC type.

d) When done, show your instructor your five sketches and the abundance table.

Write the names of the 5 major WBC types in order, from most abundant

to least abundant in the blood. See lab manual table 34.2.

1)

2)

3) 						
					4)

5)